## FOI 5052
2019/20
Incident date | Site | Description | Cause of Incident | Impact
2019-08-11 | Walton Centre NHS Foundation Trust | A report was received from staff member that a leak was occurring from the ceiling in the reception office in Mari. on inspection water was running along a pipe and out onto the computers below. | Leak | None
2019-06-09 | Walton Centre NHS Foundation Trust | Radiator burst in treatment room in OPD on the Walton centre. | Leak | None
2019-11-07 | Walton Centre NHS Foundation Trust | Office of the Radiology Manager flooded-unable to use due to large amounts of water throughout. Trust PC damaged. Office of Consultant Radiologist flooded next door also. This also produced water damage to the PACS workstation. Office of 2nd Consultant Radiologist also flooded narrowly missing computer terminals. Unsure at present of the impact of the leak on service delivery. | Leak | None
2020/21
Incident date | Site | Description | Cause of Incident | impact
2020-12-02 | The Walton Centre NHS Foundation Trust | Fault to Trusts uninterruptable power supply (UPS) caused a disruption to the IT network. Loss of power to UPS protected sockets Impacting key systems - IT servers, phones, clinical systems, power outlets, theatres and ITU | Power outstate | 7 Patient Operations delayed
2020-12-21 | The Walton Centre NHS Foundation Trust | At 02.00 am water leakage noted from the roof in the Horsley island bay area where all the portable ventilators, computers and the gas machine kept. | Leak | None
2020-12-07 | The Walton Centre NHS Foundation Trust | Leaking through the ceiling in the theatre store room and inside the scrub room in theatre 7. Maintenance staff were informed and they are working on it. At 10:45 leaking in the store room has stopped but theatre 7 scrub room leaking through the ceiling is still active. So we had to hold on to the theatre 7 operating list. There was also a delay with theatre 7 list as we are waiting for patient's blood results. | Leak | None
2021/22
Incident date | Sire | Description | Cause of Incident | Impact
2021-11-01 | The Walton Centre NHS Foundation Trust | I have been asked to Datix this again as leaking windows worsening and causing damage to hospital property and risk to electrical equipment. | Leak | None
2021-09-30 | The Walton Centre NHS Foundation Trust | Significant window leak in clinic room in PMP - concern that running in down both sides of window - had to place incontinence pad on the windowsill (not very professional looking for patient area!) as water running down the wall and staining carpet and running down by computer - so concerned re this. Estates have tried to fix both sides of the window frame on a few occasions so not sure what continues to cause this problem during heavy rains. Datix requested by E&F team. (sub category not applicable) | Leak | None