## FOI 5083
FOI 5083 2020/2021
Incident date | Site | Description | Cause of Incident | impact
2020-12-02 | The Walton Centre NHS Foundation Trust | Fault to Trusts uninterruptable power supply (UPS) caused a disruption to the IT network. Loss of power to UPS protected sockets Impacting key systems - IT servers, phones, clinical systems, power outlets, theatres and ITU Interruption duration was 1.25 hours | Power outstate | 7 Patient Operations delayed
2020-12-21 | The Walton Centre NHS Foundation Trust | At 02.00 am water leakage noted from the roof in the Horsley island bay area where all the portable ventilators, computers and the gas machine kept. | Leak | None
2020-12-07 | The Walton Centre NHS Foundation Trust | Leaking through the ceiling in the theatre store room and inside the scrub room in theatre 7. Maintenance staff were informed and they are working on it. At 10:45 leaking in the store room has stopped but theatre 7 scrub room leaking through the ceiling is still active. So we had to hold on to the theatre 7 operating list. There was also a delay with theatre 7 list as we are waiting for patient's blood results. | Leak | None